## Sheet2
Model | Object * | Make * | Model *
3 Modem
ATS |  | Liebert | UF-LTS16-1P
Backup Server (Symantec Backup Exec)
BL460c Gen9 | DEVICE-BLADE | HP | Blade BL460c Gen9
Brocade 7840 FCIP Switch | NETWORK-RACKABLE | Brocade | 7840
CCTV KVM
CheckPoint 12200 | NETWORK-RACKABLE | Checkpoint | Appliance 12200
Checkpoint 23800 | NETWORK-RACKABLE | Checkpoint | 23800 Next Generation Security Gateway
Checkpoint 5800 | NETWORK-RACKABLE | Checkpoint | 5800 Next Generation Security Gateway
CheckPoint CPAP-SG2073 | NETWORK-RACKABLE | Checkpoint
CheckPoint UTM-1 2070 | NETWORK-RACKABLE | Checkpoint
Cisco 1800 | NETWORK-RACKABLE | Cisco Systems | Router 1800
CiSco 1900 | NETWORK-RACKABLE | Cisco Systems | Router 1900
Cisco 2960XR-24T | NETWORK-RACKABLE | Cisco Systems
CISCO 3900 SERIES | NETWORK-RACKABLE | Cisco Systems | 3900 Router
Cisco 4451 | NETWORK-RACKABLE | Cisco Systems | Router ISR4451
CISCO 5508 | NETWORK-RACKABLE | Cisco Systems | 5508 Wireless Controller
Cisco 5520 Wireless Controller | NETWORK-RACKABLE | Cisco Systems | 5520 Wireless Controller
Cisco ACI Spine Switch |  | Cisco Systems
Cisco APIC-M2 |  | Cisco Systems
Cisco ASA 5545-X | NETWORK-RACKABLE | Cisco Systems | ASA 5545-X
Cisco ASA 5585-x |  | Cisco Systems
Cisco ASR 1001-X Router | NETWORK-RACKABLE | Cisco Systems | Router ASR1001-X
Cisco ASR-9904 | NETWORK-RACKABLE | Cisco Systems | Router ASR9904
Cisco C240 M4 | DEVICE-RACKABLE | Cisco Systems | UCS C240 M4
Cisco C2951 | NETWORK-RACKABLE | Cisco Systems | Router 2951
Cisco C3KX |  | Cisco Systems
Cisco Nexus 2248TP | NETWORK-RACKABLE | Cisco Systems | Nexus N2K-C2248TP
Cisco NEXUS 5596UP | NETWORK-RACKABLE | Cisco Systems | Nexus N5K-C5596UP
Cisco Nexus 93180YC-EX Switch | NETWORK-RACKABLE | Cisco Systems | Nexus 93180YC-EX
Convertor
CSD GRAF Test / Standby Server
DELL Power Edge R-720 | DEVICE-RACKABLE | Dell | PowerEdge R720
DL360 G8 | DEVICE-RACKABLE | HP
DS-7616NI-K2/PHK | NETWORK-RACKABLE
ESERVER XSERIES 330 | DEVICE-RACKABLE | IBM | eServer 330
ESERVER XSERIES 335 | DEVICE-RACKABLE | IBM | eServer x335
ESERVER XSERIES 346 | DEVICE-RACKABLE | IBM | eServer x346
F5 F5600 |  | F5 Networks
F5 VIPRION B2150 | NETWORK-BLADE | F5 Networks | Blade B2150
F5 VIPRION C2400 | NETWORK-RACKABLE | F5 Networks | VIPRION 2400 Chassis
Hitachi Disk Chassis |  | Hitachi
Hitachi G400 Storage |  | Hitachi
HP BLADE C7000 | DEVICE-RACKABLE | HP | BladeSystem c7000 Enclosure
HP ML310 | DEVICE-RACKABLE | HP | Proliant ML310
HP ML370 | DEVICE-RACKABLE | HP | Proliant ML370
HP Monitor |  | HP
HP PC |  | HP
Huawai ATN910C
Huawai OPPIX OSM500
Huawai OPPIX OSM500 power supply
Huewai echolife HG8040H
IBM SYSTEM X3650 (7979) | DEVICE-RACKABLE | IBM | System x3650
N2K-C2348TQ | NETWORK-RACKABLE | Cisco Systems | Nexus N2K-C2348TQ-10GE
N2K-C2348UPQ | NETWORK-RACKABLE | Cisco Systems | Nexus N2K-C2348UPQ
N9K-C9336C-FX2 | NETWORK-RACKABLE | Cisco Systems
Nokia intertek 4009204 |  | NOKIA
Oracle RAC Server Node 1 (CXIP ODS) |  | Oracle
Oracle RAC Server Node 2 (CXIP ODS) |  | Oracle
Oracle RAC Server Node 3 (CXIP ODS) |  | Oracle
PC HQ1
PC HQ2
peplink balance2500 | NETWORK-RACKABLE | Peplink | Balance 2500 2SFP
ProLiant BL460c G8 | DEVICE-BLADE | HP | Blade BL460c Gen8
ProLiant DL380 G5 | DEVICE-RACKABLE | HP | Proliant DL380 G5
ProLiant ML370 G5 | DEVICE-RACKABLE | HP | Proliant ML370 G5
raitan rax700(1) |  | Raritan
raitan rax700(2) |  | Raritan
raitan rax700(3) |  | Raritan
raitan rax700(4) |  | Raritan
Raritan remote door |  | Raritan
SNS-3495-K9 | DEVICE-RACKABLE | Cisco Systems
Storage Node Server

## Sheet1
Rack | Asset Tag | Migration Task # | Hostname | Application | S/N | U Range | Device Type | Model | Remark | Service impact during migation | Power off | Owner | Move out plan | Move out dependency | Move out plan target date | Additional Remarks | Rack U | Vendor | # of FC int | FC: Subnet (vLAN ID) | # of UTP int | UTP: Subnet (vLAN ID) | IEA Rack | Power(A) | Wt. (KG) | Date of Install | CRQ No. | Mount type | CI Name | PDU No. / Socket No. | PDU No. / Socket No. | PDU No. / Socket No. | PDU No. / Socket No. | Remarks | CMDB | Remark
| S008658 |  |  |  | 210235219021575C0034 |  |  | ATS | [8 empty] | U19 | [5 empty] | 1A-02 | [6 empty] | Pdu-1-1L1-21 | 0 | PDU-2-1L1-21
[8 empty] | CCTV KVM | [8 empty] | U22 | [5 empty] | 1A-02 | [6 empty] | ATS-PORT-2 | 0
[5 empty] | D28623483 |  |  | DS-7616NI-K2/PHK | [8 empty] | U20-21 | [5 empty] | 1A-02 | [6 empty] | ATS-PORT-3 | 0
[8 empty] | Raritan remote door | [8 empty] | U20 | [5 empty] | 1A-02 | [6 empty] | ATS-PORT-5 | 0 | ATS-PORT-6
N/A | N004943 |  |  |  | FOC2308R05X | N/A | Switch | N2K-C2348UPQ | new fabric extender (fiber port) |  |  | CWW | New purchase at IEA |  |  |  | U36 | JOS |  |  |  |  | 1A-02 | 2 | 8 | 2019-06-18 | CRQ000001086613 | Rack |  | PDU-1-1L1-5 | 0 | PDU-2-1L1-5 |  |  | Updated
RD10 | N004726 | 40 | HKGX1ACI001 |  | FCH2142V1UW | U24 | Switch | Cisco APIC-M2 |  |  | On | Ben Yau | To be Moved to IEA | IMC1 ACI Sandbox - recommend to relocate to IEA |  |  | U24 | DXC |  |  |  |  | 1A-03 | 3.7 | 18 | 2019-07-19 | CRQ000001089859 | Rack Mount |  | PDU-1-2L1/15 | 0 | PDU-2-2L1/15 | 0 | 0 | PDU-2-2L1/15
RD10 | N004732 | 40 | HKGX1ACI203 |  | FDO21430SVU | U18 | Switch | Cisco Nexus 93180YC-EX Switch |  |  | On | Ben Yau | To be Moved to IEA | IMC1 ACI Sandbox - recommend to relocate to IEA |  |  | U18 | DXC |  |  |  |  | 1A-03 | 3.7 | 7.8 | 2019-07-19 | CRQ000001089859 | Rack Mount |  | PDU-1-2L1/20 | 0 | PDU-2-2L1/20 | 0 | 0 | PDU-2-2L1/20
RD10 | N004727 | 40 | HKGX1ACI202 |  | FDO21422Q1D | U16 | Switch | Cisco Nexus 93180YC-EX Switch |  |  | On | Ben Yau | To be Moved to IEA | IMC1 ACI Sandbox - recommend to relocate to IEA |  |  | U16 | DXC |  |  |  |  | 1A-03 | 3.7 | 7.8 | 2019-07-19 | CRQ000001089859 | Rack Mount |  | PDU-1-1L3/20 | 0 | PDU-2-1L3/20 | 0 | 0 | PDU-2-1L3/20
RD10 | N004725 | 40 | HKGX1ACI101 |  | FDO21431JDS | U11-12 | Switch | Cisco ACI Spine Switch |  |  | On | Ben Yau | To be Moved to IEA | IMC1 ACI Sandbox - recommend to relocate to IEA |  |  | U11-12 | DXC |  |  |  |  | 1A-03 | 6.5 | 17 | 2019-07-19 | CRQ000001089859 | Rack Mount |  | PDU-1-1L3/27 | 0 | PDU-2-1L3/27 | 0 | 0 | PDU-2-1L3/27
RD10 | N007012 | 40 |  |  | FOC1246W2Y8 | U36 | Switch | Cisco Nexus 2248TP |  |  | On | Ben Yau | To be Moved to IEA | IMC1 ACI Sandbox - recommend to relocate to IEA |  |  | U36 | DXC | 2(10G to Core) |  |  |  | 1A-03 | 2 | 18 | 2019-07-19 | CRQ000001089859 | Rack Mount |  | PDU-1-1L3/12 | 0 | 0 | 0 | 0 | 0 | Single power
RD10 | S003989 | 40 |  |  | 1622BA2753 | U34 | Firewall | Checkpoint 5800 |  |  | On | Ben Yau | To be Moved to IEA | IMC1 ACI Sandbox - recommend to relocate to IEA |  |  | U34 | DXC |  |  |  |  | 1A-03 | 1.5 | 8 | 2019-07-19 | CRQ000001089859 | Rack Mount |  | PDU-1-1L3/8 | 0 | 0 | 0 | 0 | 0 | Single power
RD10 | N004797 | 40 |  |  | F5-QZVK-MTOC | U30 | F5 | F5 F5600 |  |  | On | Ben Yau | To be Moved to IEA | IMC1 ACI Sandbox - recommend to relocate to IEA |  |  | U30 | DXC |  |  |  |  | 1A-03 | 5 | 12 | 2019-07-19 | CRQ000001089859 | Rack Mount |  | PDU-1-1L3/13 | 0 | PDU-2-1L3/13 | 0 | 0 | PDU-2-1L3/13
RD10 | N004796 | 40 |  |  | F5-JGYP-MLJB | U28 | F5 | F5 F5600 |  |  | On | Ben Yau | To be Moved to IEA | IMC1 ACI Sandbox - recommend to relocate to IEA |  |  | U28 | DXC |  |  |  |  | 1A-03 | 5 | 12 | 2019-07-19 | CRQ000001089859 | Rack Mount |  | PDU-1-2L1/13 | 0 | PDU-2-2L1/13 | 0 | 0 | PDU-2-2L1/13
[5 empty] | LR201606002294 |  |  | Checkpoint 23800 | [8 empty] | U2-3 | [5 empty] | 1A-03 | [6 empty] | PDU-1-2L1/30 |  | PDU-2-2L1/30
RD11 | N004734 | 40 | HKGX1RTR103 |  | FXS2146Q2RM | U18 | Router | Cisco ASR 1001-X Router |  |  | On | Ben Yau | To be Moved to IEA | IMC1 ACI Sandbox - recommend to relocate to IEA |  |  | U19 | DXC |  |  |  |  | 1A-03 | 9 | 11 | 2019-07-19 | CRQ000001089859 | Rack Mount |  | PDU-1-1L3/19 | 0 | 0 | 0 | 0 | PDU-2-1L3/19
RD11 | N004731 | 40 | HKGX1ACI204 |  | FDO21430S7W | U16 | Switch | Cisco Nexus 93180YC-EX Switch |  |  | On | Ben Yau | To be Moved to IEA | IMC1 ACI Sandbox - recommend to relocate to IEA |  |  | U20 | DXC |  |  |  |  | 1A-03 | 2.7 | 7.8 | 2019-07-19 | CRQ000001089859 | Rack Mount |  | PDU-1-2L1/19 | 0 | PDU-2-2L1/19 | 0 | 0 | PDU-2-2L1/19
RD10 | N004728 | 40 | HKGX1ACI201 |  | FDO21422Q7E | U14 | Switch | Cisco Nexus 93180YC-EX Switch |  |  | On | Ben Yau | To be Moved to IEA | IMC1 ACI Sandbox - recommend to relocate to IEA |  |  | U36 | DXC |  |  |  |  | 1A-04 | 3.7 | 7.8 | 2019-07-19 | CRQ000001089859 | Rack Mount |  | PDU-1-2L3/7 | 0 | PDU-2-2L3/7 | 0 | 0 | PDU-2-2L3/7
RD10 | N004730 | 40 |  |  | FCH2143V0BW | U26 | Switch | Cisco APIC-M2 |  |  | On | Ben Yau | To be Moved to IEA | IMC1 ACI Sandbox - recommend to relocate to IEA |  |  | U35 | DXC |  |  |  |  | 1A-04 | 3.7 | 18 | 2019-07-19 | CRQ000001089859 | Rack Mount |  | 0 | 0 | 0 | 0 | 0 | PDU-2-2L3/12 | Power not connected
[5 empty] | LR201606002257 |  |  | Checkpoint 23800 | [8 empty] | U13-14 | [5 empty] | 1A-04 | [6 empty] | PDU-1-2L3/24 |  | PDU-2-2L2/24
RD10 | S003990 | 40 |  |  | 1617BA1595 | U32 | Firewall | Checkpoint 5800 |  |  | On | Ben Yau | To be Moved to IEA | IMC1 ACI Sandbox - recommend to relocate to IEA |  |  | U34 | DXC |  |  |  |  | 1A-04 | 1.5 | 8 | 2019-07-19 | CRQ000001089859 | Rack Mount |  | PDU-1-2L2/12 | 0 | 0 | 0 | 0 | 0
RD11 | N004729 | 40 | HKGX1ACI102 |  | FDO21400K86 | U13-14 | Switch | Cisco ACI Spine Switch |  |  | On | Ben Yau | To be Moved to IEA | IMC1 ACI Sandbox - recommend to relocate to IEA |  |  | U21-22 | DXC |  |  |  |  | 1A-04 | 6.5 | 17 | 2019-07-19 | CRQ000001089859 | Rack Mount |  | PDU-1-2L3/17 | 0 | PDU-2-2L3/17 | 0 | 0 | PDU-2-2L3/17 | Single power
RD11 | S003778 | 40 | HKGX1C7000-100 |  | SGH545W0RD | U2-11 | Server | HP BLADE C7000 |  |  | On | Ben Yau | To be Moved to IEA | IMC1 ACI Sandbox - recommend to relocate to IEA |  |  | U3-12 | DXC |  |  |  |  | 1A-04 | 28 | 219 | 2019-07-19 | CRQ000001089859 | Rack Mount |  | PDU-1-2L2/16 | PDU-1-2L2/21 | PDU-1-2L3/26 | PDU-2-2L2/21 | PDU-2-2L3/26 | PDU-2-2L2/16
RD11 | S003491 | 40 | HKGX1ESX001 |  | SGH450X8LR | U2-11 | Server | BL460c Gen9 |  |  | On | Ben Yau | To be Moved to IEA | IMC1 ACI Sandbox - recommend to relocate to IEA |  |  | U3-12(slot1) | DXC |  |  |  |  | 1A-04 | 0 |  | 2019-07-19 | CRQ000001089859 | Rack Mount |  | PDU-1-2L2/16 | PDU-1-2L2/21 | PDU-1-2L3/26 | PDU-2-2L2/21 | PDU-2-2L3/26 | PDU-2-2L2/16
RD11 | S003515 | 40 | HKGX1ESX002 |  | SGH512V5KP | U2-11 | Server | ProLiant BL460c G8 |  |  | On | Ben Yau | To be Moved to IEA | IMC1 ACI Sandbox - recommend to relocate to IEA |  |  | U3-12(slot2) | DXC |  |  |  |  | 1A-04 | 0 |  | 2019-07-19 | CRQ000001089859 | Rack Mount |  | PDU-1-2L2/16 | PDU-1-2L2/21 | PDU-1-2L3/26 | PDU-2-2L2/21 | PDU-2-2L3/26 | PDU-2-2L2/16
RD11 | S003516 | 40 | HKGX1ESX003 |  | SGH512V5KK | U2-11 | Server | ProLiant BL460c G8 |  |  | On | Ben Yau | To be Moved to IEA | IMC1 ACI Sandbox - recommend to relocate to IEA |  |  | U3-12(slot3) | DXC |  |  |  |  | 1A-04 | 0 |  | 2019-07-19 | CRQ000001089859 | Rack Mount |  | PDU-1-2L2/16 | PDU-1-2L2/21 | PDU-1-2L3/26 | PDU-2-2L2/21 | PDU-2-2L3/26 | PDU-2-2L2/16
RD11 | S003490 | 40 | HKGX1ESX004 |  | SGH450X8LL | U2-11 | Server | ProLiant BL460c G8 |  |  | On | Ben Yau | To be Moved to IEA | IMC1 ACI Sandbox - recommend to relocate to IEA |  |  | U3-12(slot5) | DXC |  |  |  |  | 1A-04 | 0 |  | 2019-07-19 | CRQ000001089859 | Rack Mount |  | PDU-1-2L2/16 | PDU-1-2L2/21 | PDU-1-2L3/26 | PDU-2-2L2/21 | PDU-2-2L3/26 | PDU-2-2L2/16
RD11 | S003602 | 40 | HKGX1ESX005 |  | SGH517XPMY | U2-11 | Server | ProLiant BL460c G8 |  |  | On | Ben Yau | To be Moved to IEA | IMC1 ACI Sandbox - recommend to relocate to IEA |  |  | U3-12(slot15) | DXC |  |  |  |  | 1A-04 | 0 |  | 2019-07-19 | CRQ000001089859 | Rack Mount |  | PDU-1-2L2/16 | PDU-1-2L2/21 | PDU-1-2L3/26 | PDU-2-2L2/21 | PDU-2-2L3/26 | PDU-2-2L2/16
RD11 | S003600 | 40 | HKGX1ESX006 |  | SGH517XPMW | U2-11 | Server | ProLiant BL460c G8 |  |  | On | Ben Yau | To be Moved to IEA | IMC1 ACI Sandbox - recommend to relocate to IEA |  |  | U3-12(slot16) | DXC |  |  |  |  | 1A-04 | 0 |  | 2019-07-19 | CRQ000001089859 | Rack Mount |  | PDU-1-2L2/16 | PDU-1-2L2/21 | PDU-1-2L3/26 | PDU-2-2L2/21 | PDU-2-2L3/26 | PDU-2-2L2/16
RD11 | S003598 | 40 | HKGX1ESX007 |  | SGH517XPN3 | U2-11 | Server | ProLiant BL460c G8 |  |  | On | Ben Yau | To be Moved to IEA | IMC1 ACI Sandbox - recommend to relocate to IEA |  |  | U3-12(slot10) | DXC |  |  |  |  | 1A-04 | 0 |  | 2019-07-19 | CRQ000001089859 | Rack Mount |  | PDU-1-2L2/16 | PDU-1-2L2/21 | PDU-1-2L3/26 | PDU-2-2L2/21 | PDU-2-2L3/26 | PDU-2-2L2/16
RD11 | S003604 | 40 | HKGX1ESX008 |  | SGH517XPMR | U2-11 | Server | ProLiant BL460c G8 |  |  | On | Ben Yau | To be Moved to IEA | IMC1 ACI Sandbox - recommend to relocate to IEA |  |  | U3-12(slot11) | DXC |  |  |  |  | 1A-04 | 0 |  | 2019-07-19 | CRQ000001089859 | Rack Mount |  | PDU-1-2L2/16 | PDU-1-2L2/21 | PDU-1-2L3/26 | PDU-2-2L2/21 | PDU-2-2L3/26 | PDU-2-2L2/16
RD11 | S003597 | 40 | HKGX1ESX009 |  | SGH517XPMT | U2-11 | Server | ProLiant BL460c G8 |  |  | On | Ben Yau | To be Moved to IEA | IMC1 ACI Sandbox - recommend to relocate to IEA |  |  | U3-12(slot12) | DXC |  |  |  |  | 1A-04 | 0 |  | 2019-07-19 | CRQ000001089859 | Rack Mount |  | PDU-1-2L2/16 | PDU-1-2L2/21 | PDU-1-2L3/26 | PDU-2-2L2/21 | PDU-2-2L3/26 | PDU-2-2L2/16
RD11 | S003512 | 40 | HKGX1ESX010 |  | SGH512V5KH | U2-11 | Server | ProLiant BL460c G8 |  |  | On | Ben Yau | To be Moved to IEA | IMC1 ACI Sandbox - recommend to relocate to IEA |  |  | U3-12(slot13) | DXC |  |  |  |  | 1A-04 | 0 |  | 2019-07-19 | CRQ000001089859 | Rack Mount |  | PDU-1-2L2/16 | PDU-1-2L2/21 | PDU-1-2L3/26 | PDU-2-2L2/21 | PDU-2-2L3/26 | PDU-2-2L2/16
RD11 | S003601 | 40 | HKGX1ESX011 |  | SGH517XPMM | U2-11 | Server | ProLiant BL460c G8 |  |  | On | Ben Yau | To be Moved to IEA | IMC1 ACI Sandbox - recommend to relocate to IEA |  |  | U3-12(slot14) | DXC |  |  |  |  | 1A-04 | 0 |  | 2019-07-19 | CRQ000001089859 | Rack Mount |  | PDU-1-2L2/16 | PDU-1-2L2/21 | PDU-1-2L3/26 | PDU-2-2L2/21 | PDU-2-2L3/26 | PDU-2-2L2/16
RD11 | S003603 | 40 | HKGX1ESX012 |  | SGH517XPML | U2-11 | Server | ProLiant BL460c G8 |  |  | On | Ben Yau | To be Moved to IEA | IMC1 ACI Sandbox - recommend to relocate to IEA |  |  | U3-12(slot4) | DXC |  |  |  |  | 1A-04 | 0 |  | 2019-07-19 | CRQ000001089859 | Rack Mount |  | PDU-1-2L2/16 | PDU-1-2L2/21 | PDU-1-2L3/26 | PDU-2-2L2/21 | PDU-2-2L3/26 | PDU-2-2L2/16
RD11 | S003514 | 40 | HKGX1ESX013 |  | SGH512V5L1 | U2-11 | Server | ProLiant BL460c G8 |  |  | On | Ben Yau | To be Moved to IEA | IMC1 ACI Sandbox - recommend to relocate to IEA |  |  | U3-12(slot6) | DXC |  |  |  |  | 1A-04 | 0 |  | 2019-07-19 | CRQ000001089859 | Rack Mount |  | PDU-1-2L2/16 | PDU-1-2L2/21 | PDU-1-2L3/26 | PDU-2-2L2/21 | PDU-2-2L3/26 | PDU-2-2L2/16
RD11 | S003511 | 40 | HKGX1ESX014 |  | SGH512V5KM | U2-11 | Server | ProLiant BL460c G8 |  |  | On | Ben Yau | To be Moved to IEA | IMC1 ACI Sandbox - recommend to relocate to IEA |  |  | U3-12(slot7) | DXC |  |  |  |  | 1A-04 | 0 |  | 2019-07-19 | CRQ000001089859 | Rack Mount |  | PDU-1-2L2/16 | PDU-1-2L2/21 | PDU-1-2L3/26 | PDU-2-2L2/21 | PDU-2-2L3/26 | PDU-2-2L2/16
RD11 | S003508 | 40 | HKGX1ESX015 |  | SGH512V5L3 | U2-11 | Server | ProLiant BL460c G8 |  |  | On | Ben Yau | To be Moved to IEA | IMC1 ACI Sandbox - recommend to relocate to IEA |  |  | U3-12(slot8) | DXC |  |  |  |  | 1A-04 | 0 |  | 2019-07-19 | CRQ000001089859 | Rack Mount |  | PDU-1-2L2/16 | PDU-1-2L2/21 | PDU-1-2L3/26 | PDU-2-2L2/21 | PDU-2-2L3/26 | PDU-2-2L2/16
RD11 | S003599 | 40 | HKGX1ESX016 |  | SGH517XPN1 | U2-11 | Server | ProLiant BL460c G8 |  |  | On | Ben Yau | To be Moved to IEA | IMC1 ACI Sandbox - recommend to relocate to IEA |  |  | U3-12(slot9) | DXC |  |  |  |  | 1A-04 | 0 |  | 2019-07-19 | CRQ000001089859 | Rack Mount |  | PDU-1-2L2/16 | PDU-1-2L2/21 | PDU-1-2L3/26 | PDU-2-2L2/21 | PDU-2-2L3/26 | PDU-2-2L2/16
RA09 |  | 10 | aa-catha-lan70-hkh-ap | GCC Router | FGL1849111C | U21-23 | Router | CISCO 3900 SERIES | Patching |  | On | CWW | To be Moved to IEA | BT Assset |  | GCC Router loaned from BT | U3-5 | JOS | 4 |  |  |  | 1A-05 | 2.2 | 27 | 2019-07-19 | CRQ000001090364 | Rack |  | PDU-01-6L1-30 |  | N/A |  |  | Updated | Single power
| NE0158263 |  |  |  | NISS-0330448 |  |  | Convertor | [8 empty] | U6 | 3 |  |  |  |  | 1A-05 | [6 empty] | PDU-1-5L3-30 |  | PDU-2-5L3-30
RB04 | N/A | 44 |  |  | NISS-0419357 | U25 | Modem | 3 Modem | Patching |  | On | CWW | To be Moved to IEA |  |  |  | U6 | 3 |  |  |  |  | 1A-05 | 1 | 0.75 |  |  |  |  | PDU-1-5L3-29 |  | PDU-2-5L3-29
[5 empty] | ALCLFA66C967 |  |  | Nokia intertek 4009204 | [8 empty] | U9-10 | [5 empty] | 1A-05 | [6 empty] | ATS-2 power bar slot 1
|  |  | 11671441 |  | 4857544301626780 |  |  | Huewai echolife HG8040H | [8 empty] | U9-10 | [5 empty] | 1A-05 | [6 empty] | ATS-2 power bar sot 3
| NS008738 |  |  |  | 2.1024e+19 |  |  | ATS | [8 empty] | U24 | [5 empty] | 1A-05 | [6 empty] | PDU-1-5L3-16 |  | PDU-2-5L3-16
[5 empty] | NISS-0521783 |  |  | raitan rax700(1) | [8 empty] | U11-12 | [5 empty] | 1A-05 | [6 empty] | PDU-1-5L3-28 |  | PDU-2-5L3-28
[5 empty] | NISS-0423176 |  |  | raitan rax700(2) | [8 empty] | U11-12 | [5 empty] | 1A-05 | [6 empty] | PDU-1-5L3-27 |  | PDU-2-5L3-27
[5 empty] | NISS-0423624 |  |  | raitan rax700(3) | [8 empty] | U11-12 | [5 empty] | 1A-05 | [6 empty] | PDU-1-5L3-24 |  | PDU-2-5L3-24
[5 empty] | NISS-0424031 |  |  | raitan rax700(4) | [8 empty] | U11-12 | [5 empty] | 1A-05 | [6 empty] | PDU-1-5L3-25 |  | PDU-2-5L3-25
[5 empty] | NISS-0458314 |  |  | Huawai OPPIX OSM500 | [8 empty] | U14 | [5 empty] | 1A-05 | [6 empty] | Using power supply |  | Using power supply
[5 empty] | 458355 |  |  | Huawai OPPIX OSM500 power supply | [8 empty] | U13 | [5 empty] | 1A-05 | [6 empty] | 0 |  | PDU-2-5L3-17 |  |  |  | Single power
|  |  | CA779047 |  |  |  |  | Huawai ATN910C | [8 empty] | U31 | [5 empty] | 1A-05 | [6 empty] | PDU-1-5L3-15 |  | PDU-2-5L3-15
|  |  | CA779045 |  |  |  |  | Huawai ATN910C | [8 empty] | U30 | [5 empty] | 1A-05 | [6 empty] | PDU-1-5L3-14 |  | PDU-2-5L3-14
RD10 | N004733 | 41 | HKGX1RTR102 |  | FXS2147Q2P8 | U22 | router | Cisco ASR 1001-X Router |  |  | On | CWW | To be Moved to IEA | IMC1 ACI Sandbox - recommend to relocate to IEA |  | lend to global team for 10G internet Link | U8 | JOS | 2 | 941 | 1(mgmt) |  | 1A-08 | 1.5 | 11.3 | 2019-07-11 | CRQ000001089789 | Rack |  | PDU-1-6L2-30 |  | PDU-2-6L2-30 |  |  | Updated
RB04 | N003610 | 9 | Balance_098A | corewifi | 182C-217E-098A | U13 | peplink | peplink balance2500 |  |  | On | CWW | To be Moved to IEA |  |  | Alvin: corewifi | U17 | JOS | 3 | 941 |  |  | 1A-08 | 1.5 | 12 | 2019-07-11 | CRQ000001089789 | Rack |  | PDU-1-6L2-19 |  | PDU-2-6L2-19 |  |  | Updated
N/A | N000836 | 41 | HKGX1CHA004 |  | JMX1745807G | N/A | firewall | Cisco ASA 5585-x | replacement of HKGX1FRW003 - Pri |  | OFF | CWW | To be Moved to IEA | (Strategic) |  |  | U15-16 | JOS | 4 | TRUNK |  |  | 1A-08 | 5 | 22.7 | 2019-07-11 | CRQ000001089789 | Rack |  | PDU-1-6L2-16 |  | PDU-2-6L2-16 |  |  | Updated
N/A | N004923 |  | HKGD1SWC0001 |  | FDO23160X7V | N/A | Switch | N9K-C9336C-FX2 | new core switch |  |  | CWW | New purchase at IEA |  |  |  | U24 | JOS |  |  |  |  | 1A-08 | 2 | 8.5 | 2019-06-18 | CRQ000001086613 | Rack |  | PDU-1-6L2-17 |  | PDU-2-6L2-17 |  |  | Updated
N/A | N004953 |  | HKGD1SWC0001-FEX181 |  | FOC2314R0AW | N/A | Switch | N2K-C2348TQ | new fabric extender (UTP port) |  |  | CWW | New purchase at IEA |  |  |  | U20 | JOS |  |  |  |  | 1A-08 | 2 | 8 | 2019-06-18 | CRQ000001086613 | Rack |  | PDU-1-6L3-17 |  | PDU-2-6L3-17 |  |  | Updated
N/A | N004956 |  | HKGD1SWC0001-FEX182 |  | FOC2316R05Q | N/A | Switch | N2K-C2348TQ | new fabric extender (UTP port) |  |  | CWW | New purchase at IEA |  |  |  | U19 | JOS |  |  |  |  | 1A-08 | 2 | 8 | 2019-06-18 | CRQ000001086613 | Rack |  | PDU-1-6L3-18 |  | PDU-2-6L3-18 |  |  | Updated
N/A | N004944 |  | HKGD1SWC0001-FEX101 |  | FOC2308R063 | N/A | Switch | N2K-C2348UPQ | new fabric extender (fiber port) |  |  | CWW | New purchase at IEA |  |  |  | U23 | JOS |  |  |  |  | 1A-08 | 2 | 8 | 2019-06-18 | CRQ000001086613 | Rack |  | PDU-1-6L2-18 |  | PDU-2-6L2-18 |  |  | Updated
N/A | N004957 |  | HKGD1SWC0001-FEX183 |  | FOC2316R08W | N/A | Switch | N2K-C2348TQ | new fabric extender (UTP port) |  |  | CWW | New purchase at IEA |  |  |  | U18 | JOS |  |  |  |  | 1A-08 | 2 | 8 | 2019-06-18 | CRQ000001086613 | Rack |  | PDU-1-6L3-19 |  | PDU-2-6L3-19 |  |  | Updated
RD08 | S003397 | 14 | F5 Chassis - HKGX1CHA001 |  | CHS409000S | U20-23 | F5 Chassis | F5 VIPRION C2400 | Patching |  | On | Ben Yau | To be Moved to IEA | (Strategic) |  | considering to replace it with a 2RU 6900 | U10-13 | DXC | 2(10G-VPC) |  | 1(mgmt) |  | 1A-08 | 8 | 20 | 2019-06-27 | CRQ000001088529 | Rack Mount |  | PDU-1-6L2/26 | 0 | PDU-2-6L2/26 | 0 | 0 | PDU-2-6L2/26
RD08 | S003399 | 14 | F5 Blade |  | BLD414894S | U20-23 | F5 | F5 VIPRION B2150 | Patching |  | On | Ben Yau | To be Moved to IEA |  |  | considering to replace it with a 2RU 6900 | U10-13 | DXC |  |  |  |  | 1A-08 | 0 |  | 2019-06-27 | CRQ000001088529 | Rack Mount |  | PDU-1-6L2/26 | 0 | PDU-2-6L2/26 | 0 | 0 | PDU-2-6L2/26
RD08 | S003405 | 14 | F5 Blade |  | BLD415106S | U20-23 | F5 | F5 VIPRION B2150 | Patching |  | On | Ben Yau | To be Moved to IEA |  |  | considering to replace it with a 2RU 6900 | U10-13 | DXC |  |  |  |  | 1A-08 | 0 |  | 2019-06-27 | CRQ000001088529 | Rack Mount |  | PDU-1-6L2/26 | 0 | PDU-2-6L2/26 | 0 | 0 | PDU-2-6L2/26
RD08 | S003404 | 14 | F5 Blade |  | BLD415110S | U20-23 | F5 | F5 VIPRION B2150 | Patching |  | On | Ben Yau | To be Moved to IEA |  |  | considering to replace it with a 2RU 6900 | U10-13 | DXC |  |  |  |  | 1A-08 | 0 |  | 2019-06-27 | CRQ000001088529 | Rack Mount |  | PDU-1-6L2/26 | 0 | PDU-2-6L2/26 | 0 | 0 | PDU-2-6L2/26
RD08 | S003401 | 14 | F5 Blade |  | BLD415160S | U20-23 | F5 | F5 VIPRION B2150 | Patching |  | On | Ben Yau | To be Moved to IEA |  |  | considering to replace it with a 2RU 6900 | U10-13 | DXC |  |  |  |  | 1A-08 | 0 |  | 2019-06-27 | CRQ000001088529 | Rack Mount |  | PDU-1-6L2/26 | 0 | PDU-2-6L2/26 | 0 | 0 | PDU-2-6L2/26
RA03 | N003787 |  | HKGX1RTR012 |  | FOX2032GHSL | U15-20 | Router | Cisco ASR-9904 | Move from comms 5B rack 3 |  | On | Ben Yau | Remain | (Strategic) |  |  | U9-14 | TBC | 4(10G to peer), 4(10G WAN), 6(10G to Cores) |  | 1(mgmt) |  | 1A-08 | 13 | 31.2 | [10 empty] | Item not exist
RA02 | N003788 | 42 | HKGX1RTR011 |  | FOX2032GHSD | U22-27 | Router | Cisco ASR-9904 | Move from comms 6D rack 2 |  | On | Ben Yau | To be Moved to IEA | (Strategic) |  |  | U2-7 | DXC | 4(10G to peer), 4(10G WAN), 6(10G to Cores) |  | 1(mgmt) |  | 1A-08 | 13 | 31.2 | 2019-07-06 | CRQ000001088627 | Rack Mount |  | PDU-1-6L2/21 | PDU-1-6L3/21 | PDU-2-6L2/21 | PDU-2-6L3/21 | 0 | PDU-2-6L2/21;PDU-2-6L3/21;
RB04 | N003609 | 9 | Balance_09DF | corewifi | 182C-217B-09DF | U14 | peplink | peplink balance2500 |  |  | On | CWW | To be Moved to IEA |  |  | Alvin: corewifi | U17 | JOS | 3 | 941 |  |  | 1A-09 | 1.5 | 12 | 2019-07-11 | CRQ000001089789 | Rack |  | PDU-1-7L1-19 |  | PDU-2-7L1-19 |  |  | Updated
RD10 | N004735 | 41 | HKGX1RTR101 |  | FXS2147Q2RZ | U20 | router | Cisco ASR 1001-X Router |  |  | On | CWW | To be Moved to IEA | IMC1 ACI Sandbox - recommend to relocate to IEA |  | lend to global team for 10G internet Link | U8 | JOS | 2 | 941 | 1(mgmt) |  | 1A-09 | 1.5 | 11.3 | 2019-07-11 | CRQ000001089789 | Rack |  | PDU-1-7L1-27 |  | PDU-2-7L1-27 |  |  | Updated
N/A | N000846 | 41 | HKGX1CHA003 |  | JMX1803802P | N/A | firewall | Cisco ASA 5585-x | replacement of HKGX1FRW003 - Stby |  | OFF | CWW | To be Moved to IEA | (Strategic) |  |  | U15-16 | JOS | 4 | TRUNK |  |  | 1A-09 | 5 | 22.7 | 2019-07-11 | CRQ000001089789 | Rack |  | PDU-1-7L1-16 |  | PDU-2-7L1-16 |  |  | Updated
N/A | N004924 |  | HKGD1SWC0002 |  | FDO23161KWM | N/A | Switch | N9K-C9336C-FX2 | new core switch |  |  | CWW | New purchase at IEA |  |  |  | U24 | JOS |  |  |  |  | 1A-09 | 2 | 8.5 | 2019-06-18 | CRQ000001086613 | Rack |  | PDU-1-7L1-17 |  | PDU-2-7L1-17 |  |  | Updated
N/A | N004955 |  | HKGD1SWC0002-FEX181 |  | FOC2314R11K | N/A | Switch | N2K-C2348TQ | new fabric extender (UTP port) |  |  | CWW | New purchase at IEA |  |  |  | U20 | JOS |  |  |  |  | 1A-09 | 2 | 8 | 2019-06-18 | CRQ000001086613 | Rack |  | PDU-1-7L2-17 |  | PDU-2-7L2-17 |  |  | Updated
N/A | N004954 |  | HKGD1SWC0002-FEX182 |  | FOC2314RQFK | N/A | Switch | N2K-C2348TQ | new fabric extender (UTP port) |  |  | CWW | New purchase at IEA |  |  |  | U19 | JOS |  |  |  |  | 1A-09 | 2 | 8 | 2019-06-18 | CRQ000001086613 | Rack |  | PDU-1-7L2-18 |  | PDU-2-7L2-18 |  |  | Updated
N/A | N004945 |  | HKGD1SWC0002-FEX101 |  | FOC2308RQ9R | N/A | Switch | N2K-C2348UPQ | new fabric extender (fiber port) |  |  | CWW | New purchase at IEA |  |  |  | U23 | JOS |  |  |  |  | 1A-09 | 2 | 8 | 2019-06-18 | CRQ000001086613 | Rack |  | PDU-1-7L1-18 |  | PDU-2-7L1-18 |  |  | Updated
N/A | N004958 |  | HKGD1SWC0002-FEX183 |  | FOC2314R05V | N/A | Switch | N2K-C2348TQ | new fabric extender (UTP port) |  |  | CWW | New purchase at IEA |  |  |  | U18 | JOS |  |  |  |  | 1A-09 | 2 | 8 | 2019-06-18 | CRQ000001086613 | Rack |  | PDU-1-7L2-19 |  | PDU-2-7L2-19 |  |  | Updated
RD09 | S003408 | 14 | F5 Chassis - HKGX1CHA002 |  | CHS408997S | U20-23 | F5 Chassis | F5 VIPRION C2400 | Patching |  | On | Ben Yau | To be Moved to IEA | (Strategic) |  | considering to replace it with a 2RU 6900 | U10-13 | DXC | 2(10G-VPC) |  | 1(mgmt) |  | 1A-09 | 8 |  | 2019-06-27 | CRQ000001088529 | Rack Mount |  | PDU-1-7L1/26 | 0 | PDU-2-7L1/26 | 0 | 0 | PDU-2-7L1/26
RD09 | S003403 | 14 | F5 Blade |  | BLD415143S | U20-23 | F5 | F5 VIPRION B2150 | Patching |  | On | Ben Yau | To be Moved to IEA |  |  | considering to replace it with a 2RU 6900 | U10-13 | DXC |  |  |  |  | 1A-09 | 0 |  | 2019-06-27 | CRQ000001088529 | Rack Mount |  | PDU-1-7L1/26 | 0 | PDU-2-7L1/26 | 0 | 0 | PDU-2-7L1/26
RD09 | S003402 | 14 | F5 Blade |  | BLD415122S | U20-23 | F5 | F5 VIPRION B2150 | Patching |  | On | Ben Yau | To be Moved to IEA |  |  | considering to replace it with a 2RU 6900 | U10-13 | DXC |  |  |  |  | 1A-09 | 0 |  | 2019-06-27 | CRQ000001088529 | Rack Mount |  | PDU-1-7L1/26 | 0 | PDU-2-7L1/26 | 0 | 0 | PDU-2-7L1/26
RD09 | S003400 | 14 | F5 Blade |  | BLD414895S | U20-23 | F5 | F5 VIPRION B2150 | Patching |  | On | Ben Yau | To be Moved to IEA |  |  | considering to replace it with a 2RU 6900 | U10-13 | DXC |  |  |  |  | 1A-09 | 0 |  | 2019-06-27 | CRQ000001088529 | Rack Mount |  | PDU-1-7L1/26 | 0 | PDU-2-7L1/26 | 0 | 0 | PDU-2-7L1/26
RD09 | S003406 | 14 | F5 Blade |  | BLD415113S | U20-23 | F5 | F5 VIPRION B2150 | Patching |  | On | Ben Yau | To be Moved to IEA |  |  | considering to replace it with a 2RU 6900 | U10-13 | DXC |  |  |  |  | 1A-09 | 0 |  | 2019-06-27 | CRQ000001088529 | Rack Mount |  | PDU-1-7L1/26 | 0 | PDU-2-7L1/26 | 0 | 0 | PDU-2-7L1/26
N/A | N004948 |  | HKGD1SWC0001-FEX102 |  | FOC2308R0KV | N/A | Switch | N2K-C2348UPQ | new fabric extender (fiber port) |  |  | CWW | New purchase at IEA |  |  |  | U34 | JOS |  |  |  |  | 1B-01 | 2 | 8 | 2019-06-18 | CRQ000001086613 | Rack |  | PDU-1-3L1-8 |  | PDU-2-3L1-8 |  |  | Updated
| ST003989 | 15 |  | 0644-NAS | 441004 | U3-4 | Storage | Hitachi G400 Storage |  | - |  | Alan Chan | New purchase at IEA |  |  |  | U3-6 | Hitachi | 12(10G), 32(FC, from SAN switch to patch panel), 16(FC, direct connect from storage to switch within the rack) | VLAN: 1601,1602 | 2 (OOB) | 1201 | 1B-01 | 32 | 20 | 2019-03-06 | CRQ000001086611 | rack mount |  | PDU-1-3L1 / 30 | PDU-1-3L2 / | PDU-2-3L1 / 30 |  | PDU-2-3L2 /
| New Purchase | 15 |  | 0644-NAS |  | U3-4 | Storage | Hitachi Disk Chassis |  | - |  | Alan Chan | New purchase at IEA |  |  |  | U7-8 | Hitachi | - |  | - | - | 1B-01 | 4 |  | 2019-03-06 | CRQ000001086611 | rack mount |  | PDU-1-3L1 / 29 | PDU-1-3L2 / | PDU-2-3L1 / 29 |  | PDU-2-3L2 /
| New Purchase | 15 |  | 0644-NAS |  | U3-4 | Storage | Hitachi Disk Chassis |  | - |  | Alan Chan | New purchase at IEA |  |  |  | U8-9 | Hitachi | - |  | - | - | 1B-01 | 4 |  | 2019-03-06 | CRQ000001086611 | rack mount |  | PDU-1-3L1 / 28 | PDU-1-3L2 / | PDU-2-3L1 / 28 |  | PDU-2-3L2 /
| New Purchase | 15 |  | 0970-FC SAN |  | U3-4 | Storage | Brocade 7840 FCIP Switch |  | - |  | Alan Chan | New purchase at IEA |  |  |  | U35-36 | Hitachi | 2(10G) |  | 1 (OOB) | 1201 | 1B-01 | 4 | 20 | 2019-03-06 | CRQ000001086611 | rack mount |  | PDU-1-3L1 / 7 | PDU-1-3L2 / | PDU-2-3L1 / 7 |  | PDU-2-3L2 /
N/A | N004949 |  | HKGD1SWC0002-FEX102 |  | FOC2311R25N | N/A | Switch | N2K-C2348UPQ | new fabric extender (fiber port) |  |  | CWW | New purchase at IEA |  |  |  | U34 | JOS |  |  |  |  | 1B-02 | 2 | 8 | 2019-06-18 | CRQ000001086613 | Rack |  | PDU-1-3L3-8 |  | PDU-2-3L3-8 |  |  | Updated
| N004969 | 15 |  | 0970-FC SAN | CWA4021P00F | U3-4 | Storage | Brocade 7840 FCIP Switch |  | - |  | Alan Chan | New purchase at IEA |  |  |  | U35-36 | Hitachi | 2(10G) |  | 1 (OOB) | 1201 | 1B-02 | 4 | 20 | 2019-03-06 | CRQ000001086611 | rack mount |  | PDU-1-3L3 / 7 | PDU-1-4L1 / |  | PDU-2-3L3/ 7 | PDU-2-4L1 /
RA05 | N000750 | 46 | HQBIMC1SWA001 |  | FDO1751B05G | U31 | Switch | Cisco 2960XR-24T | CLKMSSEC01/03/04 connect to User Core |  | On | CWW | To be Moved to IEA | Move with CLKMSSEC01/03/04 |  | We can set up a new switch in IEA Room to reduce stoppage. | U37 | JOS |  |  |  |  | 1B-03 | 2.2 | 4 | 2019-07-19 | CRQ000001090364 | Rack |  | PDU-01-4L2-4 |  | PDU-02-4L2-4 |  |  | Updated
N/A | N004946 |  | HKGD1SWC0001-FEX103 |  | FOC2308R0BT | N/A | Switch | N2K-C2348UPQ | new fabric extender (fiber port) |  |  | CWW | New purchase at IEA |  |  |  | U36 | JOS |  |  |  |  | 1B-03 | 2 | 8 | 2019-06-18 | CRQ000001086613 | Rack |  | PDU-1-4L2-5 |  | PDU-2-4L2-5 |  |  | Updated
RA01 |  |  |  | Alvin: Solarwinds | 4LKR522 | U03-04 | Server | DELL Power Edge R-720 | Need Clarity - AY |  | On | CWW | To be Moved to IEA |  |  |  | U3-4 | SITA |  |  |  |  | 1B-03 | #N/A | [5 empty] | PDU-1-4L2-30 |  | PDU-2-4L2-30
RD07 | S003244 | 16 | HKGD1ESX0003 |  | SGH404BLD2 | U18-19 | Server | Oracle RAC Server Node 3 (CXIP ODS) | Move from TB12 |  | On | Jeff Ho | To be Moved to IEA |  |  | Alvin: ESX | U28-29 | DXC | 6 x 10Gb; 2 x FC | ESXi Mgmt/vMotion: 1204, 1203 VM: 45, 105, 114, 225, 1299, 1702, 1703, 1704, 1714, 2701, 2799, 3901 NAS: 1603 Backup: 308, 2501, 2502, 2503, 3500, 3505, 3510, 3515 | 3 x 1Gb | iLO: 1201 VM: 113 | 1B-03 | 4.3 | 30 | 2019-06-24 | CRQ000001088306 | Rack Mount |  | PDU-1-4L2/14 | 0 | PDU-2-4L2/14 | 0 | 0 | PDU-2-4L2/14
RD07 | S003247 | 16 | HKGD1ESX0004 |  | SGH404BLD8 | U16-17 | Server | Storage Node Server | Move from TD16 |  | On | Jeff Ho | To be Moved to IEA |  |  | Alvin: ESX | U30-31 | DXC | 6 x 10Gb; 2 x FC |  | 3 x 1Gb |  | 1B-03 | 4.3 | 88.5 | 2019-06-24 | CRQ000001088306 | Rack Mount |  | PDU-1-4L2/12 | 0 | PDU-2-4L2/12 | 0 | 0 | PDU-2-4L2/12
RD07 | S003245 | 16 |  |  | SGH404BLD4 | U14-15 | Server | Storage Node Server | Move from TD16 |  | On | Jeff Ho | To be Moved to IEA |  |  |  | U32-33 | DXC | 6 x 10Gb; 2 x FC |  | 3 x 1Gb |  | 1B-03 | 4.3 | 88.5 | 2019-06-24 | CRQ000001088306 | Rack Mount |  | PDU-1-4L2/10 | 0 | PDU-2-4L2/10 | 0 | 0 | PDU-2-4L2/10
| MS008757 |  |  |  | 2.1024e+19 |  |  | ATS | [8 empty] | U24 | [5 empty] | 1B-03 | [6 empty] | PDU-1-4L2/20 |  | PDU-1-4L2/20
RD08 | S002627 | 13 | B2E - FIREWALL8 |  | 0913B00784 | U28 | Firewall | CheckPoint UTM-1 2070 |  |  | On | CWW | To be Moved to IEA | (Strategic) |  |  | U34 | DXC |  |  | 8(1G) |  | 1B-03 | 2.8 | 6 | 2019-06-24 | CRQ000001088306 | Rack Mount |  | ATS-Slot 2 | 0 | 0 | 0 | 0 | CONNECTED TO ATS- U24
RD08 | S003047 | 13 | B2BC - HKGX1FRW001 |  | 1152B000749 | U30 | Firewall | CheckPoint 12200 |  |  | On | CWW | To be Moved to IEA |  |  |  | U35 | DXC |  |  | 3(1G) |  | 1B-03 | 2.8 | 7.6 | 2019-06-24 | CRQ000001088306 | Rack Mount |  | PDU-1-4L2/7 | 0 | PDU-2-4L2/7 | 0 | 0 | PDU-2-4L2/7
N/A | N004947 |  | HKGD1SWC0002-FEX103 |  | FOC2308R0HU | N/A | Switch | N2K-C2348UPQ | new fabric extender (fiber port) |  |  | CWW | New purchase at IEA |  |  |  | U32 | JOS |  |  |  |  | 1B-04 | 2 | 8 | 2019-06-18 | CRQ000001086613 | Rack |  | PDU-1-5L1-15 |  | PDU-2-5L1-15 |  |  | Updated
RD09 | S003046 | 13 | B2BC - HKGX1FRW002 |  | 1152B00766 | U30 | Firewall | CheckPoint 12200 |  |  | On | CWW | To be Moved to IEA | (Strategic) |  |  | U36 | DXC |  |  | 3(1G) |  | 1B-04 | 2.8 | 7.6 | 2019-06-24 | CRQ000001088306 | Rack Mount |  | PDU-1-5L1-7 | 0 | PDU-2-5L1-7 | 0 | 0 | PDU-2-5L1/7
RD09 | S002628 | 13 | B2E - FIREWALL9 |  | 0913B00780 | U28 | Firewall | CheckPoint CPAP-SG2073 |  |  | On | CWW | To be Moved to IEA | (Strategic) |  |  | U35 | DXC |  |  | 8(1G) |  | 1B-04 | 2.8 | 6 | 2019-06-24 | CRQ000001088306 | Rack Mount |  | ATS-Slot 2 | 0 | 0 | 0 | 0 | CONNECTED TO ATS- U24
RE06 | S003242 | 31 | HKGD1ESX0001 |  | SGH404BLCX | U7-8 | Server | Oracle RAC Server Node 1 (CXIP ODS) | Move from TB13 |  | On | Jeff Ho | To be Moved to IEA |  |  | Alvin: ESX | U7-8 | DXC | 6 x 10Gb; 2 x FC |  | 3 x 1Gb |  | 1B-04 | 4.3 | 27 | 2019-06-27 | CRQ000001088529 | Rack Mount |  | PDU-1-5L1/28 | 0 | PDU-2-5L1/28 | 0 | 0 | PDU-2-5L1/28
RE06 | S003243 | 31 | HKGD1ESX0002 |  | SGH404BLD0 | U5-6 | Server | Oracle RAC Server Node 2 (CXIP ODS) | Move from TB13 |  | On | Jeff Ho | To be Moved to IEA |  |  | Alvin: ESX | U5-6 | DXC | 6 x 10Gb; 2 x FC |  | 3 x 1Gb |  | 1B-04 | 4.3 | 27 | 2019-06-27 | CRQ000001088529 | Rack Mount |  | PDU-1-5L1/29 | 0 | PDU-2-5L1/29 | 0 | 0 | PDU-2-5L1/29
RE06 | S003246 | 16 |  |  | SGH404BLD6 | U3-4 | Server | Storage Node Server | Move from TD16 |  | On | Jeff Ho | To be Moved to IEA |  |  |  | U3-4 | DXC | 6 x 10Gb; 2 x FC |  | 3 x 1Gb |  | 1B-04 | 4.3 | 88.5 | 2019-06-24 | CRQ000001088306 | Rack Mount |  | 0 | 0 | 0 | 0 | 0 | 0 | Power not connected
| M024338 |  |  |  | SCNG160RH5 |  |  | HP PC | [8 empty] | U13-15 | [5 empty] | 1B-04 | [6 empty] | ATS-slot 7
RF03 | S002751 | 36 | CLKMSBU04 | 0559-Symantec Backup Exec | SGH943XP4K | N/A | Server | Backup Server (Symantec Backup Exec) | Move from TB01 | 3 hours downtime - include data migrate and relocate to IEA | On | Alan Chan | To be Moved to IEA | Confirmation of CLKMSVO01/02/03 backup(?) [ie., same rack as these voice servers] | June |  | U9-10 | DXC | 2(FC) |  | 1 (OOB), 1 (Data), 1 (Backup) | Data: VLAN236, Backup:VLAN50 | 1B-04 | 4.3 | 11.5 | 2019-06-27 | CRQ000001088529 | Rack Mount |  | PDU-1-5L1/27 | 0 | PDU-1-5L1/27 | 0 | 0 | PDU-2-5L1/27
[5 empty] | CNN72531j1 |  |  | HP Monitor | [8 empty] | U16-22 | [5 empty] | 1B-04 | [6 empty] | PDU-1-5L1/25
| MS008745 |  |  |  | 2.1024e+19 |  |  | ATS | [8 empty] | U24 | [5 empty] | 1B-04 | [6 empty] | PDU-1-5L1/20
PABX |  |  | hkgx1vgw012 |  | FGL174811ZV |  | router | Cisco C2951 |  |  |  | Mathew Leary | To be moved to IEA |  |  |  | U19-20 | JOS |  |  | 2 |  | 1B-05 | 3.2 | 13.6 | 2019-07-19 | CRQ000001090364 | Rack |  | PDU-1-7L3-18 |  | N/A |  |  | No record | Single power
[5 empty] | SDO1533V18Z |  |  | Cisco C3KX | [8 empty] | U21-22 | [5 empty] | 1B-05 | [6 empty] | PDU-1-7L3-17 |  | PDU-2-7L3-17
| N004686 |  |  |  | FCH2135V0LC |  |  | Cisco C240 M4 | [8 empty] | U29-30 | [5 empty] | 1B-05 | [6 empty] | PDU-1-7L3-13 |  | PDU-2-7L3-13
| NS007010 |  |  |  | SSSI16360DDKN |  |  | Cisco NEXUS 2248TP | [8 empty] | U32 | [5 empty] | 1B-05 | [6 empty] | PDU-1-7L3-12 |  | PDU-2-7L3-12
| N003486 |  |  |  | FOX2015G2SD |  |  | Cisco NEXUS 5596UP | [8 empty] | U33-34 | [5 empty] | 1B-05 | [6 empty] | PDU-1-7L3-10 |  | PDU-2-7L3-10
RA04 | N001465 | 45 | HKGX1ACS003 |  | FCH1842V2AS | U20 | Server | SNS-3495-K9 |  |  | On | CWW | To be Moved to IEA | (Strategic?) |  | Cisco Secure Network Server 3495 | U21 | JOS |  |  |  |  | 1B-06 | 3.7 |  | 2019-07-19 | CRQ000001090364 | Rack |  | PDU-01-8L2-18 |  | PDU-02-8L2-18 |  |  | Updated
PABX |  |  | hkgx1vgw013 |  | FGL174811ZW |  | router | Cisco C2951 |  |  |  | Mathew Leary | To be moved to IEA |  |  |  | U19-20 | JOS |  |  | 2 |  | 1B-06 | 3.2 | 13.6 | 2019-07-19 | CRQ000001090364 | Rack |  | PDU-1-8L2-17 |  | N/A |  |  | No record | Single power
| N004694 |  |  |  | FGL1213881CD |  |  | Cisco 4451 | [8 empty] | U23-24 | [5 empty] | 1B-06 | [6 empty] | PDU-1-8L2-15 |  | PDU-2-8L2-15
| N004684 |  |  |  | FCH12135V0DM |  |  | Cisco C240 M4 | [8 empty] | U27-28 | [5 empty] | 1B-06 | [6 empty] | PDU-1-8L2-14 |  | PDU-2-8L2-14
| N004685 |  |  |  | FCH2135V0LA |  |  | Cisco C240 M4 | [8 empty] | U29-30 | [5 empty] | 1B-06 | [6 empty] | PDU-1-8L2-13 |  | PDU-2-8L2-13
| NS007018 |  |  |  | SSSI16360G4Q |  |  | Cisco NEXUS 2248TP | [8 empty] | U32 | [5 empty] | 1B-06 | [6 empty] | PDU-1-8L2-12 |  | PDU-2-8L2-12
[5 empty] | FOX1842CVV |  |  | Cisco NEXUS 5596UP | [8 empty] | U33-34 | [5 empty] | 1B-06 | [6 empty] | PDU-1-8L2-10 |  | PDU-2-8L2-10
RB04 | N003598 | 9 | HKGX1FRW003 - Pri | corewifi | FTX203111X8 | U22 | Firewall | Cisco ASA 5545-X |  |  | On | CWW | To be Moved to IEA | (Strategic) |  | Alvin: corewifi | U33 | JOS |  | TRUNK | 5 |  | 1B-07 | 5 | 6 | 2019-07-11 | CRQ000001089789 | Rack |  | PDU-1-9L1-9 |  | PDU-2-9L1-9 |  |  | Updated
RD07 | N000929 | 9 | HKGX1WLC005 | corewifi | FCW1826L05S | U23 | Controller | CISCO 5508 | replaced by HKGD1WLC001 |  | On | CWW | To be Moved to IEA | (Strategic?) |  | Alvin: corewifi | U18 | JOS | 2 | 2601 |  |  | 1B-07 |  |  | 2019-07-10 | CRQ000001089943 | Rack |  | PDU-1-9L2-19 |  | PDU-2-9L2-18 |  |  | Updated
N/A | N004980 | 9 | HKGD1WLC001 | corewifi | FCH2321V0SQ | N/A | Controller | Cisco 5520 Wireless Controller | replacement of HKGX1WLC005 |  | OFF | CWW | To be Moved to IEA | (Strategic?) |  | Alvin: corewifi | U20 | JOS | 2 | 2601 |  |  | 1B-07 | 3.5 | 13.6 | 2019-07-10 | CRQ000001089943 | Rack |  | PDU-1-9L2-17 |  | PDU-2-9L2-17 |  |  | Updated
RD07 | N002969 | 9 | HKGX1WLC007-Standby | corewifi* | FCH1946V0P0 | U20 | Controller | Cisco 5520 Wireless Controller | Move from TF03 |  | On | CWW | To be Moved to IEA | (Strategic?) |  | Alvin: corewifi | U8 | JOS | 2 | 2701 |  |  | 1B-07 | 3.5 | 13.6 | 2019-07-11 | CRQ000001089789 | Rack |  | PDU-1-9L1-29 |  | PDU-2-9L1-29 |  |  | Updated
N/A | N004950 |  | HKGD1SWC0001-FEX104 |  | FOC2311R2FD | N/A | Switch | N2K-C2348UPQ | new fabric extender (fiber port) |  |  | CWW | New purchase at IEA |  |  |  | U35 | JOS |  |  |  |  | 1B-07 | 2 | 8 | 2019-06-18 | CRQ000001086613 | Rack |  | PDU-1-9L1-7 |  | PDU-2-9L1-7 |  |  | Updated
|  | 38 |  | iConnect (voice mail) HQ2 |  |  | Server | PC HQ2 | replace Call express |  | on | CWW | To be Moved to IEA |  |  |  | U22-32 | JOS |  |  |  |  | 1B-07 | 2.27 | 6 |  | CRQ000001089421 | Shelf |  | PDU-01-9L1-15 |  | NA |  |  | No record | Single power
|  | 38 |  | iConnect (voice mail) HQ1 |  |  | Server | PC HQ1 | replace Call express |  | on | CWW | To be Moved to IEA |  |  |  | U22-32 | JOS |  |  |  |  | 1B-07 | 2.27 | 6 |  | CRQ000001089421 | Shelf |  | N/A |  | PDU-02-9L1-15 |  |  | No record | Single power
RF09 | S001842 | 17 | CLKNWWRKF06* | Novell | 99ZTA96 | U5 | Server | ESERVER XSERIES 335 | Move from SC06 |  | On | Karl Wong | To be Moved to IEA |  |  | Alvin: Novell | U5 | DXC |  |  |  |  | 1B-07 | 2 | 22 | 2019-07-06 | CRQ000001088627 | Rack Mount |  | PDU-1-9L1/30 | 0 | 0 | 0 | 0 | 0 | Single power
RF09 | S002232 | 17 | CLKNWLDAP04* | Novell | SGH717483T | U8-9 | Server | ProLiant DL380 G5 | Move from SC06 |  | On | Karl Wong | To be Moved to IEA |  |  | Alvin: Novell | U10-11 | DXC |  |  |  |  | 1B-07 | 6 | 26 | 2019-07-06 | CRQ000001088627 | Rack Mount |  | PDU-1-9L2/25 | 0 | PDU-2-9L2/25 | 0 | 0 | PDU-2-9L2/25
RF11 | S002236 | 17 | CLKNWLDAP09* | Novell | SGH7174847 | U13-14 | Server | ProLiant DL380 G5 | Move from SC06 |  | On | Karl Wong | To be Moved to IEA |  |  | Alvin: Novell | U13-14 | DXC |  |  |  |  | 1B-07 | 6 | 26 | 2019-07-06 | CRQ000001088627 | Rack Mount |  | PDU-1-9L1/25 | 0 | PDU-2-9L1/25 | 0 | 0 | PDU-2-9L1/25
| MS008732 |  |  |  | 2.1024e+18 |  |  | ATS | [8 empty] | U15 | [5 empty] | 1B-07 | [6 empty] | PDU-1-9L1/21 |  | PDU-2-9L1/21
|  |  | HQBR19 |  | FHK11492A03 |  |  | CiSco 1900 | [8 empty] | U3 | [5 empty] | 1B-07 | [6 empty] | ATS-Slot 2
RA02 | S002559 | 39 | S002559 | Nortel | SGH834Y9D2 | U13-17 | Server | ProLiant ML370 G5 | Move from TD02 |  | On | CWW | To be Moved to IEA |  |  | Alvin: Nortel | U2-7 | JOS |  |  |  |  | 1B-08 | 5.5 | 18 | 2019-07-08 | CRQ000001089392 | Rack |  | PDU-01-09L3-30 |  | PDU-02-09L3-30 |  |  | Updated
RB04 | N003597 | 9 | HKGX1FRW003 - Stby | corewifi | FTX203111XB | U19 | Firewall | Cisco ASA 5545-X |  |  | On | CWW | To be Moved to IEA | (Strategic) |  | Alvin: corewifi | U34 | JOS |  | TRUNK | 5 |  | 1B-08 | 5 | 34 | 2019-07-11 | CRQ000001089789 | Rack |  | PDU-1-9L3-7 |  | PDU-2-9L3-7 |  |  | Updated
RD07 | N002636 | 9 | HKGX1WLC005-Standby | corewifi | FCW1942B17E | U35 | Controller | CISCO 5508 | replaced by HKGD1WLC001 - Standy |  | On | CWW | To be Moved to IEA | (Strategic?) |  | Alvin: corewifi | U18 | JOS | 2 | 2601 |  |  | 1B-08 |  |  | 2019-07-10 | CRQ000001089943 | Rack |  | PDU-01-9L3-18 |  | PDU-02-9L3-18 |  |  | Updated
N/A | N004981 | 9 | HKGD1WLC001 - Standy | corewifi | FCH2321V0U5 | N/A | Controller | Cisco 5520 Wireless Controller | replacement of HKGX1WLC005-Standby |  | OFF | CWW | To be Moved to IEA | (Strategic?) |  | Alvin: corewifi | U30 | JOS | 2 | 2601 |  |  | 1B-08 | 3.5 | 13.6 | 2019-07-10 | CRQ000001089943 | Rack |  | PDU-1-10L1-14 |  | PDU-2-10L1-14 |  |  | Updated
RD07 | N001022 | 9 | HKGX1WLC006 | corewifi* | FCW1826L03W | U22 | Controller | CISCO 5508 |  |  | On | CWW | To be Moved to IEA | (Strategic?) |  | Alvin: corewifi | U31 | JOS | 2 | 2701 |  |  | 1B-08 | 2 | 9 | 2019-07-10 | CRQ000001089943 | Rack |  | PDU-1-9L3-10 |  | PDU-2-9L3-10 |  | TO BE DECOM | Updated
RD07 | N002794 | 9 | HKGX1WLC007 | corewifi* | FCH1938V1BR | U21 | Controller | Cisco 5520 Wireless Controller | Move from TF03 |  | On | CWW | To be Moved to IEA | (Strategic) |  | Alvin: corewifi | U33 | JOS | 2 | 2701 |  |  | 1B-08 | 3.5 | 13.6 | 2019-07-11 | CRQ000001089789 | Rack |  | PDU-1-9L3-8 |  | PDU-2-9L3-8 |  |  | Updated
N/A | N004951 |  | HKGD1SWC0002-FEX104 |  | FOC2313R0C1 | N/A | Switch | N2K-C2348UPQ | new fabric extender (fiber port) |  |  | CWW | New purchase at IEA |  |  |  | U32 | JOS |  |  |  |  | 1B-08 | 2 | 8 | 2019-06-18 | CRQ000001086613 | Rack |  | PDU-1-9L3-9 |  | PDU-2-9L3-9 |  |  | Updated
RE06 | S003463 | 19 | HKGX1WIN003-DCF | Root Domain | CN74500009 | U9 | Server | DL360 G8 | Move from SD03 |  | On | Karl Wong | To be Moved to IEA |  |  | Alvin: Root Domain | U13 | DXC |  |  |  |  | 1B-08 | 2.2 | 23 | 2019-07-06 | CRQ000001088627 | Rack Mount |  | PDU-1-9L3/22 | 0 | PDU-1-9L3/22 | 0 | 0 | PDU-2-9L3/22
RF08 | S001632 | 17 | CLKNWWRKF01* | Novell | 99H4711 | U3 | Server | ESERVER XSERIES 330 | Move from EC11 |  | On | Karl Wong | To be Moved to IEA |  |  | Alvin: Novell | U20 | DXC |  |  |  |  | 1B-08 | 2 | 22 | 2019-07-06 | CRQ000001088627 | Rack Mount |  | PDU-1-9L3/17; | 0 | 0 | 0 | 0 | 0 | Single power
| N00182 |  | HQBR24 |  | FHK11492A04 |  |  | Cisco 1800 | [8 empty] | U8 | [5 empty] | 1B-08 | [6 empty] | ATS-slot 6
RF08 | S002216 | 17 | CLKNWWRKF05* | Novell | 99D3258 | U4-5 | Server | IBM SYSTEM X3650 (7979) | Move form SC06 |  | On | Karl Wong | To be Moved to IEA |  |  | Alvin: Novell | U21-22 | DXC |  |  |  |  | 1B-08 | 5 | 21 | 2019-07-06 | CRQ000001088627 | Rack Mount |  | PDU-1-10L1/22 | 0 | PDU-2-10L1/22 | 0 | 0 | PDU-2-10L1/22
RF08 | S001841 | 17 | CLKNWLDAP01* | Novell | 99ZTA83 | U6 | Server | ESERVER XSERIES 335 | Move from SC06 |  | On | Karl Wong | To be Moved to IEA |  |  | Alvin: Novell | U23 | DXC |  |  |  |  | 1B-08 | 2 | 22 | 2019-07-06 | CRQ000001088627 | Rack Mount |  | PDU-1-10L1/17 | 0 | 0 | 0 | 0 | 0 | Single power
RF08 | S002132 | 17 | CLKNWLDAP07 | Novell | 99BFKPZ | U8-9 | Server | ESERVER XSERIES 346 | Move from TM04 |  | On | Karl Wong | To be Moved to IEA |  |  | Alvin: Novell | U24-25 | DXC |  |  |  |  | 1B-08 | 4 | 22 | 2019-07-06 | CRQ000001088627 | Rack Mount |  | PDU-1-10L1/15 | 0 | PDU-2-10L1/15 | 0 | 0 | PDU-2-10L1/15
RF10 | S002133 | 17 | CLKNWLDAP08 | Novell | 99BFLXW | U10-11 | Server | ESERVER XSERIES 346 | Move from TM05 |  | On | Karl Wong | To be Moved to IEA |  |  | Alvin: Novell | U27-28 | DXC |  |  |  |  | 1B-08 | 4 | 21 | 2019-07-06 | CRQ000001088627 | Rack Mount |  | PDU-1-9L3/15 | 0 | PDU-2-9L3/15 | 0 | 0 | PDU-2-9L3/15
| MS008735 |  |  |  | 2.1024e+19 |  |  | ATS | [8 empty] | U37 | [5 empty] | 1B-08 | [6 empty] | PDU-1-9L3/6 |  | PDU-2-9L3/6
RA01 | S002555 | 43 | VNMS-SVR | Admin Server for PABX | CN670709VP | U30-34 | Server | HP ML310 | Move from TD01 |  | On | CWW | To be Moved to IEA |  |  | Alvin: Admin Server for PABX | U2-11 | JOS |  |  |  |  | 1B-09 | 4.2 | 6 | 2019-07-08 | CRQ000001089392 | Shelf |  | ATS- slot 2 |  |  |  |  | Updated
RA01 | S001773 | 39 | CCMASERVER_GF | Nortel | H0T6LDQ12B | U18-28 | Server | HP ML370 | Move from TD01 |  | On | CWW | To be Moved to IEA |  |  | Alvin: Nortel | U2-11 | JOS |  |  |  |  | 1B-09 | 5.5 | 6 | 2019-07-08 | CRQ000001089392 | Shelf |  | N/A |  | PDU-02-10L2-30 |  |  | Updated
RA02 | S002560 | 39 | CTISERVER2_STANDBY | Nortel | SGH834Y9D5 | U08-12 | Server | CSD GRAF Test / Standby Server | Move from TD02 |  | On | CWW | To be Moved to IEA |  |  | Alvin: Nortel | U17-27 | JOS |  |  |  |  | 1B-09 | 5.5 | 6 | 2019-07-08 | CRQ000001089392 | Rack |  | PDU-01-10L2-17 |  | PDU-01-10L2-17 |  |  | Updated
RA02 | S002353 | 39 | CTISERVER2 | Nortel | SGH7184C1E | U03-07 | Server | ProLiant ML370 G5 | Move from TD02 |  | On | CWW | To be Moved to IEA |  |  | Alvin: Nortel | U012-16 | JOS |  |  |  |  | 1B-09 | 5.5 | 6 | 2019-07-08 | CRQ000001089392 | Rack |  | PDU-01-10L3-22 |  | PDU-01-10L3-22 |  |  | Updated
N/A | N004952 |  | HKGD1SWC0001-FEX105 |  | FOC2313R0DU | N/A | Switch | N2K-C2348UPQ | new fabric extender (fiber port) |  |  | CWW | New purchase at IEA |  |  |  | U36 | JOS |  |  |  |  | 1B-09 | 2 | 8 | 2019-06-18 | CRQ000001086613 | Rack |  | PDU-1-10L2-5 |  | PDU-2-10L2-5 |  |  | Updated
| MS008749 |  |  |  | 2102351746215703000E |  |  | ATS | [8 empty] | U22 | [5 empty] | 1B-09 | [6 empty] | PDU-1-10L2-16 |  | PDU-2-10L2-16
RD07 | S003464 | 19 | HKGX1WIN004-DCF | Root Domain | CN74500005 | U25 | Server | DL360 G8 | Move form SD04 |  | On | Karl Wong | To be Moved to IEA |  |  | Alvin: Root Domain | U24 | DXC |  |  |  |  | 1B-09 | 2.2 | 23 | 2019-07-06 | CRQ000001088627 | Rack Mount |  | PDU-1-10L2/15 | 0 | PDU-2-10L2-15 | 0 | 0 | PDU-2-10L2/15
Rack condition
| 1A-02 |  | rack Power and network cable not tidy,contain A4 paer
| 1A-03 |  | rack Power and network cable not tidy,contain A4 paer,rack ceiling broken
| 1A-04 |  | rack Power and network cable not tidy,contain A4 paer
| 1A-05 |  | rack Power and network cable not tidy,contain A4 paer
| 1A-06 |  | rack Power and network cable not tidy,contain A4 paer
| 1A-08 |  | rack Power and network cable not tidy,contain A4 paer
| 1A-09 |  | rack Power and network cable not tidy,contain A4 paer,front door broken
| 1B-02 |  | rack Power and network cable not tidy,contain A4 paer
| 1B-03 |  | rack Power and network cable not tidy,contain A4 paer
| 1B-04 |  | rack Power and network cable not tidy,contain A4 paer
| 1B-05 |  | rack Power and network cable not tidy,contain A4 paer
| 1B-06 |  | rack Power and network cable not tidy,contain A4 paer
| 1A-08 |  | rack Power and network cable not tidy,contain A4 paer
| 1A-09 |  | rack Power and network cable not tidy,contain A4 paer,front door broken